## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00225 | GI03FLMA | GI03FLMA-00002 | 2 | 2015-08-18 | 23:48 |  | 59° 46.240' N | 39° 52.806' W | 2689 | AT-30-01 |  | 59.7707 | -39.8801

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_scale_factor_volume_scatter | 1.77e-06 | Depth | 29
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_dark_counts_volume_scatter | 46 | Requires TEMPWAT and PRACSAL (PD2927/2929) from a nearby CTD
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_scale_factor_chlorophyll_a | 0.0121
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_dark_counts_chlorophyll_a | 46
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_scale_factor_cdom | 0.0908
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_dark_counts_cdom | 43
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_scattering_angle | 124 | Constant
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_measurement_wavelength | 700 | Constant
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_angular_resolution | 1.076 | Constant
GI03FLMA-RIS01-05-FLORTD000 | N00225 | GI03FLMA-00002 | 2 | A01424 | 1298 | CC_depolarization_ratio | 0.039 | Constant
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_ea434 | 17533 | Depth | 29
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_eb434 | 2229
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_ea578 | 101
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_eb578 | 38502
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_ind_slp | 1
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_ind_off | 0
GI03FLMA-RIS01-04-PHSENF000 | N00225 | GI03FLMA-00002 | 2 | A01642 | P0174 | CC_psal | 35 | Constant
GI03FLMA-RIS01-03-DOSTAD000 | N00225 | GI03FLMA-00002 | 2 | A01305 | 465 | CC_lat | 59.7707 | Depth | 29
GI03FLMA-RIS01-03-DOSTAD000 | N00225 | GI03FLMA-00002 | 2 | A01305 | 465 | CC_lon | -39.8801 | Requires TEMPWAT, PRESWAT, and PRACSAL from GI03FLMA-RIS02-03-CTDMOG000
GI03FLMA-RIS01-03-DOSTAD000 | N00225 | GI03FLMA-00002 | 2 | A01305 | 465 | CC_csv | [2.81216E-03, 1.19486E-04, 2.38644E-06, 2.30019E+02, -3.42257E-01, -5.80967E+01, 4.54714E+00]
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_lat | 59.7707 | Depth | 500
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_lon | -39.8801
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_latitude | 59.7707
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_longitude | -39.8801
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_depth | 500000 | Units in mm
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_scale_factor1 | 0.45
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_scale_factor2 | 0.45
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_scale_factor3 | 0.45
GI03FLMA-RIM01-02-ADCPSL003 | N00225 | GI03FLMA-00002 | 2 | A01509 | 23380 | CC_scale_factor4 | 0.45
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | Induction ID | 40 | Depth | 29
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_wbotc | 7.4433e-07
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_a0 | -5.2935e-05
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_a1 | 0.00029458
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_a2 | -3.5001e-06
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_a3 | 1.7614e-07
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptempa0 | 147.0708
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptempa1 | -0.06552
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptempa2 | -5.2092e-07
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptca0 | 525236.6
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptca1 | 0.64378
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptca2 | 0.10669
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptcb0 | 25.3519
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptcb1 | 0.000175
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_pa0 | 0.28426
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_pa1 | 0.004526
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_pa2 | -2.2624e-11
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_g | -0.98146
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_h | 0.13604
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_i | -0.00010448
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_j | 2.7727e-05
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG040 | N00225 | GI03FLMA-00002 | 2 | A01440 | 37-13419 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | Induction ID | 41 | Depth | 39
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_wbotc | 4.513e-07
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_a0 | -0.0001239
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_a1 | 0.00030395
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_a2 | -3.9351e-06
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_a3 | 1.8718e-07
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptempa0 | 152.9376
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptempa1 | -0.062658
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptempa2 | -5.0421e-07
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptca0 | 525177.2
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptca1 | 5.0675
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptca2 | 0.077404
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptcb0 | 25.0546
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptcb1 | -0.000275
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_pa0 | 0.67684
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_pa1 | 0.0045877
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_pa2 | -2.3571e-11
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_g | -0.98066
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_h | 0.12793
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_i | -9.7534e-05
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_j | 2.4497e-05
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG041 | N00225 | GI03FLMA-00002 | 2 | A01441 | 37-13420 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | Induction ID | 42 | Depth | 59
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_wbotc | -6.0918e-08
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_a0 | -0.00014155
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_a1 | 0.00030674
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_a2 | -4.1676e-06
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_a3 | 1.9579e-07
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptempa0 | -72.909
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptempa1 | 0.051372
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptempa2 | -7.2166e-07
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptca0 | 525111.2
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptca1 | 2.701
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptca2 | -0.040996
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptcb0 | 25.4834
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptcb1 | 0.000275
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_pa0 | 0.19413
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_pa1 | 0.0049501
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_pa2 | -2.0667e-11
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_g | -0.98231
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_h | 0.13109
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_i | 1.2783e-05
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_j | 1.743e-05
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG042 | N00225 | GI03FLMA-00002 | 2 | A01442 | 37-13421 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | Induction ID | 43 | Depth | 90
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_wbotc | 3.0815e-08
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_a0 | -0.00013377
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_a1 | 0.00030242
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_a2 | -3.7513e-06
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_a3 | 1.8663e-07
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptempa0 | 135.0715
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptempa1 | -0.061704
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptempa2 | -1.1597e-06
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptca0 | 524023.8
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptca1 | 5.0188
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptca2 | -0.10892
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptcb0 | 24.9844
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptcb1 | -0.000125
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_pa0 | 0.26815
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_pa1 | 0.0045791
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_pa2 | -2.1607e-11
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_g | -0.97331
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_h | 0.13312
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_i | -7.5036e-05
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_j | 2.4696e-05
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG043 | N00225 | GI03FLMA-00002 | 2 | A01443 | 37-13422 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | Induction ID | 44 | Depth | 130
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_wbotc | 1.8588e-07
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_a0 | -0.00013638
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_a1 | 0.00030843
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_a2 | -4.3158e-06
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_a3 | 1.9756e-07
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptempa0 | -72.909
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptempa1 | 0.051372
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptempa2 | -7.2166e-07
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptca0 | 525111.2
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptca1 | 2.701
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptca2 | -0.040996
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptcb0 | 25.4834
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptcb1 | 0.000275
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_pa0 | 0.19413
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_pa1 | 0.0049501
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_pa2 | -2.0667e-11
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_g | -0.98368
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_h | 0.1361
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_i | -0.00012457
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_j | 2.8115e-05
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG044 | N00225 | GI03FLMA-00002 | 2 | A01444 | 37-13425 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | Induction ID | 45 | Depth | 180
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_wbotc | 2.4329e-07
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_a0 | -0.00010465
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_a1 | 0.0003023
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_a2 | -3.9412e-06
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_a3 | 1.8715e-07
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptempa0 | 146.9226
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptempa1 | -0.0602
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptempa2 | -1.5651e-06
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptca0 | 524472.1
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptca1 | -21.6579
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptca2 | 0.57884
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptcb0 | 24.9461
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptcb1 | -0.000175
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_pa0 | -0.84572
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_pa1 | 0.0045202
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_pa2 | -2.7228e-11
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_g | -0.98689
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_h | 0.13153
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_i | -9.775e-05
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_j | 2.4651e-05
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG045 | N00225 | GI03FLMA-00002 | 2 | A01445 | 37-13426 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | Induction ID | 46 | Depth | 250
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_wbotc | 1.8589e-07
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_a0 | -0.00013836
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_a1 | 0.00030865
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_a2 | -4.3704e-06
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_a3 | 2.0019e-07
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptempa0 | 139.7517
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptempa1 | -0.061322
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptempa2 | -1.2885e-06
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptca0 | 524757.7
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptca1 | -3.52
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptca2 | -0.17376
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptcb0 | 25.0465
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptcb1 | 0.0001
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_pa0 | -0.82216
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_pa1 | 0.0044844
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_pa2 | -2.5332e-11
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_g | -0.99095
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_h | 0.13715
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_i | -0.0001346
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_j | 2.8173e-05
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG046 | N00225 | GI03FLMA-00002 | 2 | A01446 | 37-13427 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | Induction ID | 47 | Depth | 350
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_wbotc | 9.2946e-08
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_a0 | -0.0001714
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_a1 | 0.00031683
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_a2 | -5.0618e-06
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_a3 | 2.1678e-07
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptempa0 | 179.8349
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptempa1 | -0.069748
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptempa2 | -5.6514e-07
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptca0 | 523916.9
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptca1 | 4.1203
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptca2 | 0.16029
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptcb0 | 24.9698
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptcb1 | -0.00025
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_pa0 | 0.8412
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_pa1 | 0.0045907
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_pa2 | -2.4666e-11
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_g | -0.97772
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_h | 0.13527
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_i | -0.00010912
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_j | 2.6583e-05
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG047 | N00225 | GI03FLMA-00002 | 2 | A01447 | 37-13428 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | Induction ID | 48 | Depth | 501
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_p_range | 1450
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_wbotc | 1.8378e-07
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_a0 | -0.00014518
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_a1 | 0.00030718
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_a2 | -4.1342e-06
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_a3 | 1.9399e-07
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptempa0 | 139.9567
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptempa1 | -0.060026
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptempa2 | -1.2955e-06
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptca0 | 524068.6
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptca1 | -0.36048
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptca2 | -0.062678
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptcb0 | 24.9966
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptcb1 | -0.00047382
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_pa0 | -0.17322
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_pa1 | 0.0045198
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_pa2 | -2.8452e-11
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_g | -0.96998
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_h | 0.13116
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_i | -0.00010523
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_j | 2.5736e-05
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOG048 | N00225 | GI03FLMA-00002 | 2 | A01448 | 37-13429 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | Induction ID | 49 | Depth | 748
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_p_range | 5076
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_wbotc | 5.2759e-07
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_a0 | -0.00014004
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_a1 | 0.00030874
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_a2 | -4.3916e-06
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_a3 | 1.9974e-07
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptempa0 | 163.0727
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptempa1 | -0.083497
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptempa2 | -1.2452e-06
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptca0 | 524799.6
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptca1 | -3.6291
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptca2 | 0.14476
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptcb0 | 25.1925
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptcb1 | -0.0001
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_pa0 | -0.11718
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_pa1 | 0.016065
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_pa2 | -7.9667e-10
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_g | -0.98171
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_h | 0.13642
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_i | -0.00017538
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_j | 3.1818e-05
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOH049 | N00225 | GI03FLMA-00002 | 2 | A01459 | 37-13444 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | Induction ID | 50 | Depth | 999
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_p_range | 5076
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_wbotc | 3.1073e-07
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_a0 | -0.00017184
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_a1 | 0.00031526
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_a2 | -4.8303e-06
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_a3 | 2.0954e-07
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptempa0 | 175.2883
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptempa1 | -0.10028
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptempa2 | 2.4326e-06
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptca0 | 524094.1
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptca1 | 0.27704
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptca2 | -0.004455
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptcb0 | 24.9325
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptcb1 | -0.0001
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_pa0 | 0.66099
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_pa1 | 0.016261
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_pa2 | -7.5296e-10
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_g | -0.98558
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_h | 0.13721
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_i | -0.00014381
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_j | 2.9894e-05
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOH050 | N00225 | GI03FLMA-00002 | 2 | A01460 | 37-13445 | CC_ctcor | 3.25e-06
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | Induction ID | 51 | Depth | 1501
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_lat | 59.7707
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_lon | -39.8801
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_p_range | 5076
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_wbotc | 2.7857e-07
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_a0 | -8.2605e-05
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_a1 | 0.00030039
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_a2 | -3.9298e-06
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_a3 | 1.8886e-07
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptempa0 | 184.0908
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptempa1 | -0.071091
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptempa2 | -4.9955e-06
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptca0 | 524040.7
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptca1 | -2.9901
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptca2 | 0.11265
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptcb0 | 25.0765
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptcb1 | 0.0003
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ptcb2 | 0
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_pa0 | -0.24829
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_pa1 | 0.015896
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_pa2 | -7.7236e-10
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_g | -0.97891
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_h | 0.13512
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_i | -9.1946e-05
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_j | 2.6354e-05
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_cpcor | -9.57e-08
GI03FLMA-RIM01-02-CTDMOH051 | N00225 | GI03FLMA-00002 | 2 | A01462 | 37-13446 | CC_ctcor | 3.25e-06
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | Induction ID | 000 | Depth | 1697
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_lat | 59.7707
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_lon | -39.8801
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_p_range | 5076
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_wbotc | 2.8078e-07
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_a0 | -0.00016107
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_a1 | 0.00030954
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_a2 | -4.3501e-06
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_a3 | 2.0162e-07
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptempa0 | 156.7684
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptempa1 | -0.087919
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptempa2 | 1.0992e-06
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptca0 | 524153.8
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptca1 | 1.5978
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptca2 | -0.056379
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptcb0 | 25.1164
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptcb1 | 0.000675
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ptcb2 | 0
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_pa0 | 0.043824
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_pa1 | 0.015924
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_pa2 | -7.1881e-10
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_g | -0.98399
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_h | 0.13813
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_i | -0.00015926
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_j | 3.1072e-05
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_cpcor | -9.57e-08
GI03FLMA-RI000-00-CTDMOH000 | N00225 | GI03FLMA-00002 | 2 | A01463 | 37-13447 | CC_ctcor | 3.25e-06
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | Induction ID | 700 | Depth | 1998
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_lat | 59.7707
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_lon | -39.8801
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_p_range | 5076
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_wbotc | 3.7106e-07
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_a0 | -0.00020595
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_a1 | 0.0003223
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_a2 | -5.3077e-06
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_a3 | 2.2398e-07
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptempa0 | 206.5275
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptempa1 | -0.11222
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptempa2 | 4.0044e-06
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptca0 | 524128.5
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptca1 | 1.1894
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptca2 | -0.02449
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptcb0 | 24.9267
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptcb1 | 0.00035
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ptcb2 | 0
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_pa0 | 0.23099
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_pa1 | 0.016502
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_pa2 | -7.7296e-10
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_g | -0.97834
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_h | 0.13487
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_i | -0.00013008
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_j | 2.6189e-05
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_cpcor | -9.57e-08
GI03FLMA-RI000-00-CTDMOH700 | N00225 | GI03FLMA-00002 | 2 | A01464 | 37-13448 | CC_ctcor | 3.25e-06
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | Induction ID | 400 | Depth | 2299
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_lat | 59.7707
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_lon | -39.8801
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_p_range | 5076
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_wbotc | 5.482e-07
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_a0 | -0.00015977
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_a1 | 0.00030957
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_a2 | -4.3344e-06
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_a3 | 2.0011e-07
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptempa0 | 158.6034
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptempa1 | -0.089354
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptempa2 | 4.9361e-07
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptca0 | 525181.6
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptca1 | 2.0816
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptca2 | -0.044385
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptcb0 | 25.1795
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptcb1 | 0.0001
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ptcb2 | 0
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_pa0 | 0.38091
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_pa1 | 0.015953
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_pa2 | -7.247e-10
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_g | -0.96876
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_h | 0.12959
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_i | -0.0001399
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_j | 2.7327e-05
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_cpcor | -9.57e-08
GI03FLMA-RI000-00-CTDMOH400 | N00225 | GI03FLMA-00002 | 2 | A01461 | 37-13449 | CC_ctcor | 3.25e-06
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | Induction ID | 100 | Depth | 2600
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_lat | 59.7707
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_lon | -39.8801
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_p_range | 5076
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_wbotc | 2.997e-08
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_a0 | -0.00016069
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_a1 | 0.00031006
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_a2 | -4.3292e-06
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_a3 | 1.9872e-07
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptempa0 | 207.6714
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptempa1 | -0.096347
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptempa2 | 7.2316e-07
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptca0 | 524653.1
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptca1 | -0.88423
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptca2 | 0.012273
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptcb0 | 25.161
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptcb1 | -0.0002
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ptcb2 | 0
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_pa0 | -0.18355
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_pa1 | 0.016016
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_pa2 | -7.4189e-10
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_g | -0.98002
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_h | 0.12689
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_i | -0.00011174
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_j | 2.5043e-05
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_cpcor | -9.57e-08
GI03FLMA-RI000-00-CTDMOH100 | N00225 | GI03FLMA-00002 | 2 | A01465 | 37-13450 | CC_ctcor | 3.25e-06
GI03FLMA-RI000-00-VELPTB000 | N00225 | GI03FLMA-00002 | 2 | N00514 | AQD 12673 | CC_lat | 59.7707 | Depth | 1682
GI03FLMA-RI000-00-VELPTB000 | N00225 | GI03FLMA-00002 | 2 | N00514 | AQD 12673 | CC_lon | -39.8801
GI03FLMA-RI000-00-VELPTB700 | N00225 | GI03FLMA-00002 | 2 | N00513 | AQD 12663 | CC_lat | 59.7707 | Depth | 1982
GI03FLMA-RI000-00-VELPTB700 | N00225 | GI03FLMA-00002 | 2 | N00513 | AQD 12663 | CC_lon | -39.8801
GI03FLMA-RI000-00-VELPTB400 | N00225 | GI03FLMA-00002 | 2 | N00511 | AQD 12195 | CC_lat | 59.7707 | Depth | 2282
GI03FLMA-RI000-00-VELPTB400 | N00225 | GI03FLMA-00002 | 2 | N00511 | AQD 12195 | CC_lon | -39.8801
GI03FLMA-RI000-00-VELPTB100 | N00225 | GI03FLMA-00002 | 2 | N00512 | AQD 12236 | CC_lat | 59.7707 | Depth | 2582
GI03FLMA-RI000-00-VELPTB100 | N00225 | GI03FLMA-00002 | 2 | N00512 | AQD 12236 | CC_lon | -39.8801
GI03FLMA-RIS01-00-SIOENG000 | N00225 | GI03FLMA-00002 | 2 | OL000021 | 12372 |  |  | Secondary Controller
GI03FLMA-RIM01-00-SIOENG000 | N00225 | GI03FLMA-00002 | 2 | OL000004 | 13993 |  |  | Main Controller