## Asset_Cal_Info
Sensor Code | startDateTime | stopDateTime | Sensor.uid | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes | Source | Undefined Sensors
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_voltage_offset
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_frequency_offset
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_oxygen_signal_slope
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_residual_temperature_correction_factor_a
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_residual_temperature_correction_factor_b
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_residual_temperature_correction_factor_c
[9 empty] | CTDBP | 2015-06-03 | A01697 | 16-50112 | CC_residual_temperature_correction_factor_e
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_residual_temperature_correction_factor_e | 0.036 |  | RS01SBPS-SF01A-2A-CTDPFA102
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_residual_temperature_correction_factor_c | -2.3769e-06
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_frequency_offset | -0.4886
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_oxygen_signal_slope | 0.4348
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_residual_temperature_correction_factor_a | -0.0033229
CTDPFA/DOFSTA | 2015-01-01 |  | ATAPL-66662-00008 | 16-50115 | CC_residual_temperature_correction_factor_b | 0.00015583
CTDBFA/DOSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_frequency_offset | -0.4877 |  | From RS03AXPS
CTDPFA/DOFSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_oxygen_signal_slope | 0.4991
CTDPFA/DOFSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_residual_temperature_correction_factor_a | -0.0037698
CTDPFA/DOFSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_residual_temperature_correction_factor_b | 0.00018321
CTDPFA/DOFSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_residual_temperature_correction_factor_c | -2.8018e-06
CTDPFA/DOFSTA | 2013-01-22 |  | ATAPL-66662-00010 | 16-50122 | CC_residual_temperature_correction_factor_e | 0.036
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_frequency_offset | -0.4464 |  | From RS03AXPS
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_oxygen_signal_slope | 0.4902
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_residual_temperature_correction_factor_a | -0.0036755
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_residual_temperature_correction_factor_b | 0.00018714
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_residual_temperature_correction_factor_c | -2.7965e-06
CTDPFA/DOFSTA | 2011-08-26 |  | N00718 | 16P71179-2484 | CC_residual_temperature_correction_factor_e | 0.036
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_e | 0.036 |  | From RS01SBPS
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_c | -2.3769e-06
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_frequency_offset | -0.4886
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_oxygen_signal_slope | 0.4348
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_a | -0.0033229
CTDPF/DOFSTA | 2013-11-12 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_b | 0.00015583
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_e | 0.036 |  | RS01SBPS-SF01A-2A-CTDPFA102
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_c | -3.3014e-06
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_frequency_offset | -0.4307
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_oxygen_signal_slope | 0.4741
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_a | -0.0030279
CTDPFA/DOFSTA | 2014-06-01 |  | ATAPL-66662-00002 | 16P71179-7205 | CC_residual_temperature_correction_factor_b | 0.00019242
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_frequency_offset | -0.4464 |  | From RS03AXPS
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_oxygen_signal_slope | 0.4902
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_residual_temperature_correction_factor_a | -0.0036755
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_residual_temperature_correction_factor_b | 0.00018714
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_residual_temperature_correction_factor_c | -2.7965e-06
CTDPFA/DOFSTA | 2011-08-26 |  | ATAPL-66662-00004 | 16P71179-7233 | CC_residual_temperature_correction_factor_e | 0.036