## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00231 | CP02PMCI | CP02PMCI-00004 | 4 | 2015-10-15 | 18:11 | 2016-05-20 | 40° 13.603' N | 70° 52.674' W | 127 | AT-31 |  | 40.2267 | -70.8779

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CP02PMCI-RII01-02-ADCPTG010 | N00231 | CP02PMCI-00004 | 4 | A00491 | 20495 | CC_depth | 107000 | units = mm | 4 | CP02PMCI-SBS01-00-STCENG000 | 39
CP02PMCI-RII01-02-ADCPTG010 | N00231 | CP02PMCI-00004 | 4 | A00491 | 20495 | CC_latitude | 40.2267 |  | 4 | CP02PMCI-SBS01-01-MOPAK0000 | 6
CP02PMCI-RII01-02-ADCPTG010 | N00231 | CP02PMCI-00004 | 4 | A00491 | 20495 | CC_longitude | -70.8779 |  | 4 | CP02PMCI-RII01-02-ADCPTG010 | 2
[9 empty] | #N/A | CP02PMCI-WFP01-00-WFPENG000 | 37
CP02PMCI-SBS01-01-MOPAK0000 | N00231 | CP02PMCI-00004 | 4 | N00081 | 27203 |  |  |  | 3 | CP02PMCI-WFP01-01-VEL3DK000 | 20
[9 empty] | #N/A | CP02PMCI-WFP01-02-DOFSTK000 | 8
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_frequency_offset | -797.95 |  | 7 | CP02PMCI-WFP01-03-CTDPFK000 | 17
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_latitude | 40.2267 |  | 7 | CP02PMCI-WFP01-04-FLORTK000 | 23
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_longitude | -70.8779 |  | 7 | CP02PMCI-WFP01-05-PARADK000 | 34
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_oxygen_signal_slope | 0.00034074 |  | 7
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_residual_temperature_correction_factor_a | -0.0035943 |  | 7
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_residual_temperature_correction_factor_b | 0.00016721 |  | 7
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_residual_temperature_correction_factor_c | -2.5637e-06 |  | 7
CP02PMCI-WFP01-02-DOFSTK000 | N00231 | CP02PMCI-00004 | 4 | N00079 | 43-2708 | CC_residual_temperature_correction_factor_e | 0.036 |  | 7
#N/A
CP02PMCI-WFP01-03-CTDPFK000 | N00231 | CP02PMCI-00004 | 4 | N00078 | 124 | CC_latitude | 40.2267 |  | 8
CP02PMCI-WFP01-03-CTDPFK000 | N00231 | CP02PMCI-00004 | 4 | N00078 | 124 | CC_longitude | -70.8779 |  | 8
#N/A
CP02PMCI-WFP01-01-VEL3DK000 | N00231 | CP02PMCI-00004 | 4 | N00083 | 100035 | CC_lat | 40.2267 |  | 6
CP02PMCI-WFP01-01-VEL3DK000 | N00231 | CP02PMCI-00004 | 4 | N00083 | 100035 | CC_lon | -70.8779 |  | 6
#N/A
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_angular_resolution | 1.076 | Constant | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_dark_counts_cdom | 48 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_dark_counts_chlorophyll_a | 48 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_dark_counts_volume_scatter | 50 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_depolarization_ratio | 0.039 | Constant | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_measurement_wavelength | 700 | Constant | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_scale_factor_cdom | 0.0883 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_scale_factor_chlorophyll_a | 0.0121 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_scale_factor_volume_scatter | 2.913e-06 |  | 9
CP02PMCI-WFP01-04-FLORTK000 | N00231 | CP02PMCI-00004 | 4 | N00080 | 1117 | CC_scattering_angle | 124 | Constant | 9
#N/A
CP02PMCI-WFP01-05-PARADK000 | N00231 | CP02PMCI-00004 | 4 | N00082 | 20464 | CC_dark_offset | 1.1 |  | 10
CP02PMCI-WFP01-05-PARADK000 | N00231 | CP02PMCI-00004 | 4 | N00082 | 20464 | CC_scale_wet | 9.96e-18 |  | 10
#N/A
CP02PMCI-WFP01-00-WFPENG000 | N00231 | CP02PMCI-00004 | 4 | A00846 | ML13103-01 |  |  |  | 5
#N/A
CP02PMCI-SBS01-00-STCENG000 | N00231 | CP02PMCI-00004 | 4 | OL000341 | 1015 |  |  |  | 2