## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
OL000048 | GA02HYPM | GA02HYPM-00002 | 2 | 2015-11-16 | 18:36 |  | 42° 58.850' S | 42° 32.515' W | 5196 | NBP-15-10 |  | -42.9808 | -42.5419

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_dark_counts_volume_scatter | 45 | Requires PD1960/1962 (tempwat/pracsal) from nearby CTD (GA02HYPM-WFP02-04-CTDPFL000?)
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_scale_factor_volume_scatter | 1.646e-06
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_dark_counts_chlorophyll_a | 45
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_scale_factor_chlorophyll_a | 0.0072
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_scattering_angle | 140 | 24
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_measurement_wavelength | 700 | Constant
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_angular_resolution | 1.096 | Constant
GA02HYPM-WFP02-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000049 | 4015 | CC_depolarization_ratio | 0.039 | Constant
GA02HYPM-WFP02-03-DOSTAL000 | OL000048 | GA02HYPM-00002 | 2 | OL000050 | 2197 | CC_lat | -42.9808 | Needs PRESWAT, TEMPWAT, and PRACSAL from nearest CTD
GA02HYPM-WFP02-03-DOSTAL000 | OL000048 | GA02HYPM-00002 | 2 | OL000050 | 2197 | CC_lon | -42.5419
GA02HYPM-WFP02-04-CTDPFL000 | OL000048 | GA02HYPM-00002 | 2 | OL000051 | 152 | CC_latitude | -42.9808
GA02HYPM-WFP02-04-CTDPFL000 | OL000048 | GA02HYPM-00002 | 2 | OL000051 | 152 | CC_longitude | -42.5419
GA02HYPM-WFP02-05-VEL3DL000 | OL000048 | GA02HYPM-00002 | 2 | OL000053 | 1255 | CC_lat | -42.9808
GA02HYPM-WFP02-05-VEL3DL000 | OL000048 | GA02HYPM-00002 | 2 | OL000053 | 1255 | CC_lon | -42.5419
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_dark_counts_volume_scatter | 44 | Requires PD1960/1962 (tempwat/pracsal) from nearby CTD (GA02HYPM-WFP03-04-CTDPFL000?)
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_scale_factor_volume_scatter | 1.64e-06
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_dark_counts_chlorophyll_a | 44
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_scale_factor_chlorophyll_a | 0.0072
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_scattering_angle | 140 | Constant
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_measurement_wavelength | 700 | Constant
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_angular_resolution | 1.096 | Constant
GA02HYPM-WFP03-01-FLORDL000 | OL000048 | GA02HYPM-00002 | 2 | OL000052 | 4016 | CC_depolarization_ratio | 0.039 | Constant
GA02HYPM-WFP03-03-DOSTAL000 | OL000048 | GA02HYPM-00002 | 2 | OL000054 | 2196 | CC_lat | -42.9808
GA02HYPM-WFP03-03-DOSTAL000 | OL000048 | GA02HYPM-00002 | 2 | OL000054 | 2196 | CC_lon | -42.5419
GA02HYPM-WFP03-04-CTDPFL000 | OL000048 | GA02HYPM-00002 | 2 | OL000055 | 153 | CC_latitude | -42.9808
GA02HYPM-WFP03-04-CTDPFL000 | OL000048 | GA02HYPM-00002 | 2 | OL000055 | 153 | CC_longitude | -42.5419
GA02HYPM-WFP03-05-VEL3DL000 | OL000048 | GA02HYPM-00002 | 2 | OL000056 | 1254 | CC_lat | -42.9808
GA02HYPM-WFP03-05-VEL3DL000 | OL000048 | GA02HYPM-00002 | 2 | OL000056 | 1254 | CC_lon | -42.5419
[8 empty] | Not Deployed | GA02HYPM-MPM01-02-ZPLSGA009 | OL000048 | GA02HYPM-00002
[8 empty] | Not Deployed | GA02HYPM-MPM01-02-ZPLSGA010 | OL000048 | GA02HYPM-00002
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | Induction ID | 39 | Depth | 163
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_lat | -42.9808
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_lon | -42.5419
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_p_range | 1450
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_wbotc | -9.5881e-08
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_a0 | -0.00013616
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_a1 | 0.00031151
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_a2 | -4.8053e-06
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_a3 | 2.122e-07
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptempa0 | 197.0212
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptempa1 | -0.064863
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptempa2 | -1.0588e-06
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptca0 | 524047.4
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptca1 | -0.83996
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptca2 | 0.013101
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptcb0 | 25.1039
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptcb1 | -0.000225
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ptcb2 | 0
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_pa0 | -0.049621
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_pa1 | 0.0044779
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_pa2 | -3.2733e-11
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_g | -0.98205
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_h | 0.14454
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_i | -9.892e-05
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_j | 2.766e-05
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_cpcor | -9.57e-08
GA02HYPM-RIM01-02-CTDMOG039 | OL000048 | GA02HYPM-00002 | 2 | A01561 | 37-13606 | CC_ctcor | 3.25e-06
GA02HYPM-RIM01-00-SIOENG000 | OL000048 | GA02HYPM-00002 | 2 | OL000059 | 14880
GA02HYPM-WFP02-00-WFPENG000 | OL000048 | GA02HYPM-00002 | 2 | OL000057 | 13452-03
GA02HYPM-WFP03-00-WFPENG000 | OL000048 | GA02HYPM-00002 | 2 | OL000058 | 13452-04