## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00223 | GI02HYPM | GI02HYPM-00002 | 2 | 2015-08-16 | 22:59 |  | 59° 58.365' N | 39° 31.409' W | 2667 | AT-30-01 |  | 59.9727 | -39.5235

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_dark_counts_volume_scatter | 48 | Requires PD1960/1962 (tempwat/pracsal) from nearby CTD (GI02HYPM-WFP02-04-CTDPFL000?) |  | 4 | GI02HYPM-WFP02-00-WFPENG000 | 55
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_scale_factor_volume_scatter | 2.005e-06 |  |  | 4 | GI02HYPM-WFP02-01-FLORDL000 | 3
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_dark_counts_chlorophyll_a | 47 |  |  | 4 | GI02HYPM-WFP02-03-DOSTAL000 | 12
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_scale_factor_chlorophyll_a | 0.0073 |  |  | 4 | GI02HYPM-WFP02-04-CTDPFL000 | 15
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_scattering_angle | 140 | Constant |  | 4 | GI02HYPM-WFP02-05-VEL3DL000 | 18
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_measurement_wavelength | 700 | Constant |  | 4 | GI02HYPM-MPM01-02-ZPLSGA009 | 21
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_angular_resolution | 1.096 | Constant |  | 4 | GI02HYPM-MPM01-02-ZPLSGA010 | 23
GI02HYPM-WFP02-01-FLORDL000 | N00223 | GI02HYPM-00002 | 2 | N00172 | 2350 | CC_depolarization_ratio | 0.039 | Constant |  | 4 | GI02HYPM-RIM01-02-CTDMOG039 | 25
[10 empty] | #N/A | GI02HYPM-RIM01-00-SIOENG000 | 53
GI02HYPM-WFP02-03-DOSTAL000 | N00223 | GI02HYPM-00002 | 2 | N00171 | 1106 | CC_lat | 59.9727 | Needs PRESWAT, TEMPWAT, and PRACSAL from nearest CTD |  | 5
GI02HYPM-WFP02-03-DOSTAL000 | N00223 | GI02HYPM-00002 | 2 | N00171 | 1106 | CC_lon | -39.5235 |  |  | 5
#N/A
GI02HYPM-WFP02-04-CTDPFL000 | N00223 | GI02HYPM-00002 | 2 | N00170 | 97 | CC_latitude | 59.9727 |  |  | 6
GI02HYPM-WFP02-04-CTDPFL000 | N00223 | GI02HYPM-00002 | 2 | N00170 | 97 | CC_longitude | -39.5235 |  |  | 6
#N/A
GI02HYPM-WFP02-05-VEL3DL000 | N00223 | GI02HYPM-00002 | 2 | N00173 | 1025 | CC_lat | 59.9727 |  |  | 7
GI02HYPM-WFP02-05-VEL3DL000 | N00223 | GI02HYPM-00002 | 2 | N00173 | 1025 | CC_lon | -39.5235 |  |  | 7
#N/A
GI02HYPM-MPM01-02-ZPLSGA009 | N00223 | GI02HYPM-00002 | 2 | [6 empty] | #N/A
10
GI02HYPM-MPM01-02-ZPLSGA010 | N00223 | GI02HYPM-00002 | 2 | [6 empty] | 10
10
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | Induction ID | 39 | Depth | 166
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_lat | 59.9727
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_lon | -39.5248
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_p_range | 1450
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_wbotc | 2.181e-07
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_a0 | -0.00014914
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_a1 | 0.00030659
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_a2 | -4.0682e-06
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_a3 | 1.9251e-07
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptempa0 | 177.804
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptempa1 | -0.067803
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptempa2 | 1.7016e-07
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptca0 | 525018.6
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptca1 | 3.1673
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptca2 | -0.084413
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptcb0 | 24.984
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptcb1 | 0.0002
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ptcb2 | 0
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_pa0 | 0.12881
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_pa1 | 0.0045417
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_pa2 | -2.5233e-11
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_g | -0.98848
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_h | 0.13849
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_i | -0.00020134
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_j | 3.3731e-05
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_cpcor | -9.57e-08
GI02HYPM-RIM01-02-CTDMOG039 | N00223 | GI02HYPM-00002 | 2 | A01458 | 37-13439 | CC_ctcor | 3.25e-06
GI02HYPM-RIM01-00-SIOENG000 | N00223 | GI02HYPM-00002 | 2 | OL000024 | 13284 |  |  |  |  | 11
#N/A
GI02HYPM-WFP02-00-WFPENG000 | N00223 | GI02HYPM-00002 | 2 | A01080 | ML12774-01 |  |  | The is the WFP S/N. |  | 3
#N/A