## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00226 | GI03FLMB | GI03FLMB-00001 | 1 | 2014-09-16 | 13:24 | 2015-08-20 | 59° 42.76' N | 039° 13.81' W | 2825 | KN-221-4

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_scale_factor_volume_scatter | 1.695e-06 | Depth
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_dark_counts_volume_scatter | 52 | Requires TEMPWAT and PRACSAL (PD2927/2929) from a nearby CTD
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_scale_factor_chlorophyll_a | 0.0122
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_dark_counts_chlorophyll_a | 59
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_scale_factor_cdom | 0.0903
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_dark_counts_cdom | 47
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_scattering_angle | 124 | Constant
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_measurement_wavelength | 700 | Constant
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_angular_resolution | 1.076 | Constant
GI03FLMB-RIS01-05-FLORTD000 | N00226 | GI03FLMB-00001 | 1 | A00421 | 1107 | CC_depolarization_ratio | 0.039 | Constant
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_ea434 | 17533 | Depth
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_eb434 | 2229
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_ea578 | 101
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_eb578 | 38502
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_ind_slp | 1
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_ind_off | 0
GI03FLMB-RIS01-04-PHSENF000 | N00226 | GI03FLMB-00001 | 1 | A00468 | P0104 | CC_psal | 35 | Constant
GI03FLMB-RIS01-03-DOSTAD000 | N00226 | GI03FLMB-00001 | 1 | A00176 | 126 | CC_lat | 59.7128 | Depth
GI03FLMB-RIS01-03-DOSTAD000 | N00226 | GI03FLMB-00001 | 1 | A00176 | 126 | CC_lon | -39.3203 | Requires TEMPWAT, PRESWAT, and PRACSAL from GI03FLMB-RIS02-03-CTDMOG000
GI03FLMB-RIS01-03-DOSTAD000 | N00226 | GI03FLMB-00001 | 1 | A00176 | 126 | CC_csv | [2.723472E-03,1.146171E-04,2.127325E-06,2.331129E+02,-3.382688E-01,-5.416392E+01,4.550830E+00]
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_lat | 59.7128 | Depth
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_lon | -39.3203
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_latitude | 59.7128
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_longitude | -39.3203
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_depth | 500000 | Units in mm
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_scale_factor1 | 0.45
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_scale_factor2 | 0.45
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_scale_factor3 | 0.45
GI03FLMB-RIM01-02-ADCPSL007 | N00226 | GI03FLMB-00001 | 1 | A00077 | 18353 | CC_scale_factor4 | 0.45
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | Induction ID | 12 | Depth | not deployed
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_wbotc | 3.1252e-07
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_a0 | -0.00010518
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_a1 | 0.0003072
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_a2 | -4.5314e-06
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_a3 | 2.0148e-07
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptempa0 | -68.2488
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptempa1 | 0.051613
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptempa2 | -5.3034e-07
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptca0 | 524905.7
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptca1 | 1.636
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptca2 | -0.020512
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptcb0 | 25.3128
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptcb1 | -0.00085
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_pa0 | 0.12917
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_pa1 | 0.0045113
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_pa2 | -1.7218e-11
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_g | -0.99
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_h | 0.13959
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_i | -0.00021992
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_j | 3.4998e-05
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG060 | N00226 | GI03FLMB-00001 | 1 | A00677 | 37-11612 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | Induction ID | 69 | Depth | 41
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_wbotc | 5.1017e-07
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_a0 | -0.0001428
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_a1 | 0.00031322
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_a2 | -4.9279e-06
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_a3 | 2.1503e-07
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptempa0 | -70.4759
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptempa1 | 0.051266
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptempa2 | -5.2834e-07
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptca0 | 525465.2
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptca1 | 9.3252
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptca2 | -0.099288
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptcb0 | 25.4509
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptcb1 | -0.001625
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_pa0 | 0.73736
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_pa1 | 0.0045236
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_pa2 | -1.5512e-11
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_g | -0.96852
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_h | 0.16213
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_i | -0.00047517
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_j | 6.247e-05
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG061 | N00226 | GI03FLMB-00001 | 1 | A00667 | 37-11609 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | Induction ID | 50 | Depth | 61
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_wbotc | 6.9882e-08
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_a0 | -0.00010424
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_a1 | 0.00030694
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_a2 | -4.4881e-06
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_a3 | 2.0225e-07
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptempa0 | -69.2364
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptempa1 | 0.052346
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptempa2 | -7.0074e-07
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptca0 | 524015.5
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptca1 | -2.518
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptca2 | -0.06865
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptcb0 | 25.3861
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptcb1 | -0.002175
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_pa0 | -0.34079
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_pa1 | 0.0045591
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_pa2 | -1.2882e-11
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_g | -0.97529
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_h | 0.17189
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_i | -0.00030102
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_j | 5.3817e-05
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG062 | N00226 | GI03FLMB-00001 | 1 | A00910 | 37-12310 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | Induction ID | 35 | Depth | 91
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_wbotc | 5.2999e-07
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_a0 | -9.4594e-05
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_a1 | 0.00030639
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_a2 | -4.4882e-06
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_a3 | 2.0262e-07
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptempa0 | -72.5745
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptempa1 | 0.053913
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptempa2 | -6.8457e-07
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptca0 | 522963.1
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptca1 | -4.4538
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptca2 | 0.033708
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptcb0 | 25.1965
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptcb1 | 0.0021
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_pa0 | -0.42636
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_pa1 | 0.0044537
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_pa2 | -1.3256e-11
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_g | -0.98129
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_h | 0.13769
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_i | -0.00022066
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_j | 3.4951e-05
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG063 | N00226 | GI03FLMB-00001 | 1 | A00683 | 37-11535 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | Induction ID | 63 | Depth | 131
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_wbotc | 4.2217e-07
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_a0 | -8.0996e-05
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_a1 | 0.00030318
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_a2 | -4.2468e-06
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_a3 | 1.9666e-07
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptempa0 | -67.6424
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptempa1 | 0.051571
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptempa2 | -5.3796e-07
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptca0 | 524791.1
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptca1 | 1.9699
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptca2 | 0.0015219
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptcb0 | 25.2814
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptcb1 | 0.001075
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_pa0 | 0.18277
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_pa1 | 0.0044554
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_pa2 | -1.8043e-11
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_g | -0.96791
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_h | 0.12728
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_i | -0.00029885
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_j | 3.8034e-05
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG064 | N00226 | GI03FLMB-00001 | 1 | A00672 | 37-11603 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | Induction ID | 67 | Depth | 181
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_wbotc | 5.5232e-07
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_a0 | -8.4559e-05
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_a1 | 0.00030601
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_a2 | -4.5131e-06
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_a3 | 2.0172e-07
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptempa0 | -68.1583
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptempa1 | 0.051582
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptempa2 | -5.3816e-07
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptca0 | 524550
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptca1 | 5.6424
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptca2 | -0.024483
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptcb0 | 25.3436
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptcb1 | -0.001075
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_pa0 | 0.50401
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_pa1 | 0.0044769
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_pa2 | -1.8929e-11
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_g | -0.98768
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_h | 0.1703
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_i | -0.00049893
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_j | 6.6739e-05
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG065 | N00226 | GI03FLMB-00001 | 1 | A00682 | 37-11607 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | Induction ID | 51 | Depth | 252
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_wbotc | 0
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_a0 | -8.3248e-05
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_a1 | 0.00030295
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_a2 | -4.1809e-06
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_a3 | 1.9389e-07
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptempa0 | -70.2267
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptempa1 | 0.051768
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptempa2 | -6.593e-07
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptca0 | 524890.7
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptca1 | 2.726
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptca2 | -0.010272
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptcb0 | 25.4706
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptcb1 | -0.003075
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_pa0 | 0.35207
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_pa1 | 0.0045755
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_pa2 | -1.3383e-11
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_g | -0.97889
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_h | 0.17106
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_i | -0.00028385
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_j | 5.0942e-05
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG066 | N00226 | GI03FLMB-00001 | 1 | A00911 | 37-12311 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | Induction ID | 93 | Depth | 352
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_wbotc | 6.4667e-07
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_a0 | -9.7938e-05
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_a1 | 0.00030635
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_a2 | -4.4264e-06
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_a3 | 1.9882e-07
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptempa0 | -68.3553
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptempa1 | 0.05244
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptempa2 | -7.1191e-07
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptca0 | 525196.4
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptca1 | 2.4771
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptca2 | -0.061236
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptcb0 | 25.3596
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptcb1 | -0.000275
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_pa0 | 0.11562
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_pa1 | 0.0044801
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_pa2 | -1.9051e-11
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_g | -0.98112
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_h | 0.16446
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_i | -0.00047984
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_j | 6.3253e-05
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG067 | N00226 | GI03FLMB-00001 | 1 | A00671 | 37-11593 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | Induction ID | 94 | Depth | not deployed
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_p_range | 1450
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_wbotc | 2.4151e-07
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_a0 | -0.00012484
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_a1 | 0.00031165
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_a2 | -4.924e-06
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_a3 | 2.1443e-07
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptempa0 | -67.0907
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptempa1 | 0.05209
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptempa2 | -6.645e-07
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptca0 | 525058.4
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptca1 | 2.0646
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptca2 | 0.13556
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptcb0 | 25.336
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptcb1 | 0.0006
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_pa0 | 0.48713
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_pa1 | 0.004522
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_pa2 | -1.9367e-11
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_g | -0.99401
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_h | 0.13112
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_i | -0.00035849
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_j | 4.2232e-05
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOG068 | N00226 | GI03FLMB-00001 | 1 | A00670 | 37-11594 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | Induction ID | 60 | Depth | 750
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_p_range | 5076
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_wbotc | 6.0263e-08
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_a0 | -0.00013545
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_a1 | 0.00031017
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_a2 | -4.5781e-06
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_a3 | 2.0585e-07
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptempa0 | -77.1009
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptempa1 | 0.048881
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptempa2 | -3.5641e-07
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptca0 | 525087.4
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptca1 | 3.3134
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptca2 | -0.071894
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptcb0 | 25.282
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptcb1 | -0.0016
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_pa0 | 0.72237
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_pa1 | 0.015945
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_pa2 | -6.552e-10
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_g | -0.98538
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_h | 0.12954
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_i | -0.00037299
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_j | 4.392e-05
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOH069 | N00226 | GI03FLMB-00001 | 1 | A00689 | 37-11600 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | Induction ID | 98 | Depth | 1001
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_p_range | 5076
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_wbotc | 3.0512e-07
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_a0 | -0.00010226
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_a1 | 0.00030487
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_a2 | -4.2057e-06
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_a3 | 1.9392e-07
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptempa0 | -72.7563
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptempa1 | 0.051514
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptempa2 | -7.2902e-07
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptca0 | 525334.1
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptca1 | 2.7616
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptca2 | -0.024815
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptcb0 | 25.2819
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptcb1 | 0.000775
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_pa0 | 0.7224
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_pa1 | 0.015835
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_pa2 | -6.5905e-10
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_g | -0.97177
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_h | 0.1616
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_i | -0.0004611
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_j | 6.1633e-05
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOH070 | N00226 | GI03FLMB-00001 | 1 | A00687 | 37-11598 | CC_ctcor | 3.25e-06
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | Induction ID | 23 | Depth | 1502
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_lat | 59.7128
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_lon | -39.3203
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_p_range | 5076
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_wbotc | 3.4772e-07
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_a0 | -0.00010607
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_a1 | 0.00030723
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_a2 | -4.4677e-06
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_a3 | 2.0168e-07
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptempa0 | -67.3296
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptempa1 | 0.051368
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptempa2 | -5.0313e-07
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptca0 | 524950.8
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptca1 | 0.79278
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptca2 | -0.057944
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptcb0 | 25.2824
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptcb1 | -0.000125
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ptcb2 | 0
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_pa0 | -0.18315
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_pa1 | 0.016014
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_pa2 | -6.7032e-10
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_g | -0.98521
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_h | 0.17184
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_i | -0.00023874
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_j | 4.9077e-05
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_cpcor | -9.57e-08
GI03FLMB-RIM01-02-CTDMOH071 | N00226 | GI03FLMB-00001 | 1 | A00873 | 37-12223 | CC_ctcor | 3.25e-06
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | Induction ID | 24 | Depth | 1822
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_lat | 59.7128
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_lon | -39.3203
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_p_range | 5076
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_wbotc | 4.8711e-07
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_a0 | -9.6296e-05
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_a1 | 0.00030171
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_a2 | -3.974e-06
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_a3 | 1.8977e-07
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptempa0 | -66.9019
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptempa1 | 0.052494
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptempa2 | -5.8364e-07
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptca0 | 525155.7
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptca1 | 3.091
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptca2 | -0.059425
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptcb0 | 25.2688
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptcb1 | -0.00125
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ptcb2 | 0
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_pa0 | 0.73403
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_pa1 | 0.016039
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_pa2 | -6.723e-10
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_g | -0.97823
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_h | 0.1709
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_i | -0.00026916
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_j | 5.0603e-05
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_cpcor | -9.57e-08
GI03FLMB-RI000-00-CTDMOH000 | N00226 | GI03FLMB-00001 | 1 | A00874 | 37-12224 | CC_ctcor | 3.25e-06
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | Induction ID | 18 | Depth | 2123
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_lat | 59.7128
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_lon | -39.3203
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_p_range | 5076
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_wbotc | 2.4327e-07
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_a0 | -0.00012106
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_a1 | 0.00031158
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_a2 | -4.8448e-06
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_a3 | 2.1096e-07
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptempa0 | -69.2559
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptempa1 | 0.051551
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptempa2 | -4.5824e-07
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptca0 | 524377.3
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptca1 | -0.69926
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptca2 | -0.037455
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptcb0 | 25.2028
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptcb1 | 0.00055
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ptcb2 | 0
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_pa0 | -0.67388
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_pa1 | 0.016019
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_pa2 | -6.6704e-10
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_g | -0.9823
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_h | 0.17125
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_i | -0.00028306
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_j | 5.0781e-05
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_cpcor | -9.57e-08
GI03FLMB-RI000-00-CTDMOH100 | N00226 | GI03FLMB-00001 | 1 | A00868 | 37-12218 | CC_ctcor | 3.25e-06
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | Induction ID | 19 | Depth | 2424
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_lat | 59.7128
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_lon | -39.3203
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_p_range | 5076
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_wbotc | 1.7439e-07
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_a0 | -0.00010921
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_a1 | 0.0003071
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_a2 | -4.4668e-06
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_a3 | 2.0134e-07
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptempa0 | -66.6751
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptempa1 | 0.051867
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptempa2 | -5.1823e-07
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptca0 | 523872.2
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptca1 | 2.7242
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptca2 | -0.13444
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptcb0 | 25.1824
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptcb1 | -0.000925
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ptcb2 | 0
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_pa0 | -0.045985
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_pa1 | 0.016015
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_pa2 | -6.6965e-10
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_g | -0.99317
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_h | 0.17439
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_i | -0.00028981
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_j | 5.2724e-05
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_cpcor | -9.57e-08
GI03FLMB-RI000-00-CTDMOH400 | N00226 | GI03FLMB-00001 | 1 | A00869 | 37-12219 | CC_ctcor | 3.25e-06
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | Induction ID | 26 | Depth | 2725
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_lat | 59.7128
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_lon | -39.3203
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_p_range | 5076
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_wbotc | 3.4737e-07
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_a0 | -0.00011303
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_a1 | 0.0003076
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_a2 | -4.4489e-06
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_a3 | 2.0039e-07
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptempa0 | -74.2021
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptempa1 | 0.050775
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptempa2 | -5.2206e-07
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptca0 | 527408
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptca1 | 3.4565
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptca2 | -0.10543
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptcb0 | 25.4795
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptcb1 | -0.0005
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ptcb2 | 0
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_pa0 | 0.43066
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_pa1 | 0.015973
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_pa2 | -6.9391e-10
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_g | -0.99139
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_h | 0.1726
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_i | -0.00025045
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_j | 4.8908e-05
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_cpcor | -9.57e-08
GI03FLMB-RI000-00-CTDMOH700 | N00226 | GI03FLMB-00001 | 1 | A00876 | 37-12226 | CC_ctcor | 3.25e-06
GI03FLMB-RI000-00-VELPTB000 | N00226 | GI03FLMB-00001 | 1 | N00516 | AQD 11973 | CC_lat | 59.7128 | Depth
GI03FLMB-RI000-00-VELPTB000 | N00226 | GI03FLMB-00001 | 1 | N00516 | AQD 11973 | CC_lon | -39.3203
GI03FLMB-RI000-00-VELPTB700 | N00226 | GI03FLMB-00001 | 1 | N00517 | AQD 11974 | CC_lat | 59.7128 | Depth
GI03FLMB-RI000-00-VELPTB700 | N00226 | GI03FLMB-00001 | 1 | N00517 | AQD 11974 | CC_lon | -39.3203
GI03FLMB-RI000-00-VELPTB400 | N00226 | GI03FLMB-00001 | 1 | N00518 | AQD 11976 | CC_lat | 59.7128 | Depth
GI03FLMB-RI000-00-VELPTB400 | N00226 | GI03FLMB-00001 | 1 | N00518 | AQD 11976 | CC_lon | -39.3203
GI03FLMB-RI000-00-VELPTB100 | N00226 | GI03FLMB-00001 | 1 | N00519 | AQD 11981 | CC_lat | 59.7128 | Depth
GI03FLMB-RI000-00-VELPTB100 | N00226 | GI03FLMB-00001 | 1 | N00519 | AQD 11981 | CC_lon | -39.3203
GI03FLMB-RIM01-00-SIOENG000 | N00226 | GI03FLMB-00001 | 1 | OL000023 | 13285 |  |  | The serial number used here is bogus, pending identification of the real serial number.
GI03FLMB-RIS01-00-SIOENG000 | N00226 | GI03FLMB-00001 | 1 | OL000022 | 12369