## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A00378 | GP05MOAS-GL363 | 363 | 2 | 2016-06-30 | 2:30 | 2016-07-05 | 50.1665 | -144.5011 | 1000 | RB-16-05 | appears to have bene recovered at 7:08:00 UTC

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GP05MOAS-GL363-01-FLORDM000 | A00378 | 363 | 2 | N00631 | 3063 | CC_scattering_angle | 140 | Constant.
GP05MOAS-GL363-01-FLORDM000 | A00378 | 363 | 2 | N00631 | 3063 | CC_measurement_wavelength | 700 | Constant.
GP05MOAS-GL363-01-FLORDM000 | A00378 | 363 | 2 | N00631 | 3063 | CC_angular_resolution | 1.096 | Constant.
GP05MOAS-GL363-01-FLORDM000 | A00378 | 363 | 2 | N00631 | 3063 | CC_depolarization_ratio | 0.039 | Constant.
GP05MOAS-GL363-02-DOSTAM000 | A00378 | 363 | 2 | N00630 | 161 |  |  | No calibration coefficient
GP05MOAS-GL363-04-CTDGVM000 | A00378 | 363 | 2 | N00629 | 9065 |  |  | No calibration coefficient
GP05MOAS-GL363-00-ENG000000 | A00378 | 363 | 2 | OL000126 | 363 |  |  | No calibration coefficient