## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A01308 | GP05MOAS-GL525 | 525 | 1 | 2015-06-02 | 11:25 | 2016-07-06 | 50° 09.857' N | 144° 34.299' W | 1000 | TN-323 |  | 50.1643 | -144.5717

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GP05MOAS-GL525-01-FLORDM000 | A01308 | 525 | 1 | N00646 | FLBBSLC-3579 | CC_scattering_angle | 140 | Constant.
GP05MOAS-GL525-01-FLORDM000 | A01308 | 525 | 1 | N00646 | FLBBSLC-3579 | CC_measurement_wavelength | 700 | Constant.
GP05MOAS-GL525-01-FLORDM000 | A01308 | 525 | 1 | N00646 | FLBBSLC-3579 | CC_angular_resolution | 1.096 | Constant.
GP05MOAS-GL525-01-FLORDM000 | A01308 | 525 | 1 | N00646 | FLBBSLC-3579 | CC_depolarization_ratio | 0.039 | Constant.
GP05MOAS-GL525-02-DOSTAM000 | A01308 | 525 | 1 | N00645 | 364 |  |  | No calibration coefficient
GP05MOAS-GL525-04-CTDGVM000 | A01308 | 525 | 1 | N00644 | 9232 |  |  | No calibration coefficient
GP05MOAS-GL525-00-ENG000000 | A01308 | 525 | 1 | OL000131 | 525 |  |  | No calibration coefficient