## Asset_Cal_Info
Sensor Code | startDateTime | stopDateTime | Sensor.uid | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes | Source | Undefined Sensors
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_dark_counts_volume_scatter | 50 |  | From RS01SPD-00001
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_scale_factor_volume_scatter | 0.0121
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_dark_counts_chlorophyll_a | 50
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_scale_factor_chlorophyll_a | 0.0121
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_scattering_angle | 140
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_measurement_wavelength | 700
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_angular_resolution | 1.096
FLNTUA | 2014-08-19 |  | ATAPL-70110-00001 | FLNTURTD-3099 | CC_depolarization_ratio | 0.039
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_scale_factor_volume_scatter | 0 |  | From RS03AXPD
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_dark_counts_volume_scatter | 0
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_scale_factor_chlorophyll_a | 0.0121
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_dark_counts_chlorophyll_a | 49
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_scattering_angle | 140
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_measurement_wavelength | 700
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_angular_resolution | 1.096
FLNTUA | 2014-08-27 |  | ATAPL-70110-00002 | FLNTURTD-3397 | CC_depolarization_ratio | 0.039
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_dark_counts_volume_scatter | 21 |  | From CE04OSPD-00001
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_scale_factor_volume_scatter | 0.0061
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_dark_counts_chlorophyll_a | 50
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_scale_factor_chlorophyll_a | 0.0121
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_scattering_angle | 140
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_measurement_wavelength | 700
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_angular_resolution | 1.096
FLNTUA | 2014-12-22 |  | ATOSU-58336-00007 | FLNTURTD-3398 | CC_depolarization_ratio | 0.039
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_dark_counts_volume_scatter
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_scale_factor_volume_scatter
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_dark_counts_chlorophyll_a
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_scale_factor_chlorophyll_a
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_scattering_angle
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_measurement_wavelength
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_angular_resolution
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00003 | FLNTURTD-3468 | CC_depolarization_ratio
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_dark_counts_volume_scatter | 50 |  | From RS01SPD-00002
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_scale_factor_volume_scatter | 0.0121
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_dark_counts_chlorophyll_a | 50
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_scale_factor_chlorophyll_a | 0.0121
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_scattering_angle | 140
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_measurement_wavelength | 700
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_angular_resolution | 1.096
FLNTUA | 2015-05-04 |  | ATAPL-70110-00004 | FLNTURTD-3637 | CC_depolarization_ratio | 0.039
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_dark_counts_volume_scatter
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_scale_factor_volume_scatter
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_dark_counts_chlorophyll_a
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_scale_factor_chlorophyll_a
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_scattering_angle
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_measurement_wavelength
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_angular_resolution
[9 empty] | FLNTUA | 2015-05-04 | ATAPL-70110-00005 | FLNTURTD-3638 | CC_depolarization_ratio
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_dark_counts_volume_scatter | 21 |  | From CE04OSPD-00002
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_scale_factor_volume_scatter | 0.0061
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_dark_counts_chlorophyll_a | 50
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_scale_factor_chlorophyll_a | 0.0121
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_scattering_angle | 140
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_measurement_wavelength | 700
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_angular_resolution | 1.096
FLNTUA | 2013-06-10 |  | ATAPL-70110-00006 | FLNTURTD-3762 | CC_depolarization_ratio | 0.039