## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
| CP02PMUO | CP02PMUO-00008 | 8 | [6 empty] | AR-08

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CP02PMUO-RII01-02-ADCPSL010 |  | CP02PMUO-00008 | 8 |  | 21446 | CC_depth |  | units = mm
CP02PMUO-RII01-02-ADCPSL010 |  | CP02PMUO-00008 | 8 |  | 21446 | CC_latitude
CP02PMUO-RII01-02-ADCPSL010 |  | CP02PMUO-00008 | 8 |  | 21446 | CC_longitude
CP02PMUO-SBS01-01-MOPAK0000 |  | CP02PMUO-00008 | 8 |  | TBD
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_frequency_offset | -839.39
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_latitude
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_longitude
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_oxygen_signal_slope | 0.00027484
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_residual_temperature_correction_factor_a | -0.0041251
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_residual_temperature_correction_factor_b | 0.00021958
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_residual_temperature_correction_factor_c | -3.3174e-06
CP02PMUO-WFP01-02-DOFSTK000 |  | CP02PMUO-00008 | 8 |  | 43-3370 | CC_residual_temperature_correction_factor_e | 0.036
CP02PMUO-WFP01-03-CTDPFK000 |  | CP02PMUO-00008 | 8 |  | 169 | CC_latitude
CP02PMUO-WFP01-03-CTDPFK000 |  | CP02PMUO-00008 | 8 |  | 169 | CC_longitude
CP02PMUO-WFP01-01-VEL3DK000 |  | CP02PMUO-00008 | 8 |  | 100212 | CC_lat
CP02PMUO-WFP01-01-VEL3DK000 |  | CP02PMUO-00008 | 8 |  | 100212 | CC_lon
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_angular_resolution | 1.076 | Constant
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_dark_counts_cdom | 46
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_dark_counts_chlorophyll_a | 49
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_dark_counts_volume_scatter | 43
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_depolarization_ratio | 0.039 | Constant
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_measurement_wavelength | 700 | Constant
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_scale_factor_cdom | 0.0906
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_scale_factor_chlorophyll_a | 0.0121
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_scale_factor_volume_scatter | 3.026e-06
CP02PMUO-WFP01-04-FLORTK000 |  | CP02PMUO-00008 | 8 |  | 1466 | CC_scattering_angle | 124 | Constant
CP02PMUO-WFP01-05-PARADK000 |  | CP02PMUO-00008 | 8 |  | 20513 | CC_dark_offset | 1
CP02PMUO-WFP01-05-PARADK000 |  | CP02PMUO-00008 | 8 |  | 20513 | CC_scale_wet | 9.82e-18
CP02PMUO-WFP01-00-WFPENG000 |  | CP02PMUO-00008 | 8 |  | 12991-03
CP02PMUO-SBS01-00-STCENG000 |  | CP02PMUO-00008 | 8 |  | SWE 0009