## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00218 | GA03FLMA | GA03FLMA-00001 | 1 | 2015-03-17 | 19:45 | 2015-11-22 | 42° 29.58' S | 42° 52.24' W | 5165 | AT-26-30 | Wrong anchor position recovered in Argentine-1 Cruise report. Fixed here | -42.493 | -42.8707

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_scale_factor_volume_scatter | 1.87e-06 | Depth | 29
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_dark_counts_volume_scatter | 51 | Requires TEMPWAT and PRACSAL (PD2927/2929) from a nearby CTD
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_scale_factor_chlorophyll_a | 0.0121
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_dark_counts_chlorophyll_a | 52
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_scale_factor_cdom | 0.0906
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_dark_counts_cdom | 45
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_scattering_angle | 124 | Constant
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_measurement_wavelength | 700 | Constant
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_angular_resolution | 1.076 | Constant
GA03FLMA-RIS01-05-FLORTD000 | N00218 | GA03FLMA-00001 | 1 | A01496 | 1215 | CC_depolarization_ratio | 0.039 | Constant
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_ea434 | 17533 | Depth | 29
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_eb434 | 2229
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_ea578 | 101
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_eb578 | 38502
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_ind_slp | 1
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_ind_off | 0
GA03FLMA-RIS01-04-PHSENF000 | N00218 | GA03FLMA-00001 | 1 | N00501 | P0141 | CC_psal | 35 | Constant
GA03FLMA-RIS01-03-DOSTAD000 | N00218 | GA03FLMA-00001 | 1 | A01145 | 428 | CC_lat | -42.493 | Depth | 29
GA03FLMA-RIS01-03-DOSTAD000 | N00218 | GA03FLMA-00001 | 1 | A01145 | 428 | CC_lon | -42.8707 | Requires TEMPWAT, PRESWAT, and PRACSAL from GA03FLMA-RIS02-03-CTDMOG000
GA03FLMA-RIS01-03-DOSTAD000 | N00218 | GA03FLMA-00001 | 1 | A01145 | 428 | CC_csv | [2.774985E-03,1.164731E-04,2.335955E-06,2.301622E+02,-4.000961E-01,-5.549023E+01,4.571902E+00]
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_lat | -42.493 | Depth | 500
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_lon | -42.8707
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_latitude | -42.493
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_longitude | -42.8707
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_depth | 500000 | Units in mm
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_scale_factor1 | 0.45
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_scale_factor2 | 0.45
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_scale_factor3 | 0.45
GA03FLMA-RIM01-02-ADCPSL003 | N00218 | GA03FLMA-00001 | 1 | A00569 | 20503 | CC_scale_factor4 | 0.45
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | Induction ID | 41 | Depth | 30
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_wbotc | -3.2143e-08
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_a0 | -0.00012929
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_a1 | 0.00031093
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_a2 | -4.7543e-06
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_a3 | 2.0999e-07
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptempa0 | -70.6407
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptempa1 | 0.050876
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptempa2 | -4.6363e-07
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptca0 | 524843.2
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptca1 | -1.2483
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptca2 | 0.2655
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptcb0 | 25.3283
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptcb1 | 0.00045
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_pa0 | 0.53107
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_pa1 | 0.0046318
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_pa2 | -1.1324e-11
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_g | -0.97711
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_h | 0.14548
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_i | -0.00011097
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_j | 2.9478e-05
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG040 | N00218 | GA03FLMA-00001 | 1 | A00937 | 37-12401 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | Induction ID | 84 | Depth | 40
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_wbotc | 2.6391e-07
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_a0 | -0.00012921
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_a1 | 0.00031096
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_a2 | -4.7065e-06
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_a3 | 2.0788e-07
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptempa0 | -68.263
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptempa1 | 0.052307
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptempa2 | -5.209e-07
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptca0 | 524520.6
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptca1 | 524994
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptca2 | 2.8755
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptcb0 | -0.0042851
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptcb1 | 25.5804
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ptcb2 | -0.000325
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_pa0 | 0
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_pa1 | 0.0046747
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_pa2 | -1.323e-11
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_g | -0.96457
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_h | 0.15134
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_i | -0.00015082
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_j | 3.4515e-05
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG041 | N00218 | GA03FLMA-00001 | 1 | A01514 | 37-12584 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | Induction ID | 28 | Depth | 60
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_wbotc | 3.3031e-07
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_a0 | -0.00011044
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_a1 | 0.00030472
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_a2 | -4.2042e-06
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_a3 | 1.9464e-07
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptempa0 | -67.3011
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptempa1 | 0.051537
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptempa2 | -4.8094e-07
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptca0 | 524520.6
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptca1 | 524665.7
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptca2 | 1.4656
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptcb0 | 0.24785
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptcb1 | 25.3057
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ptcb2 | 0.00015
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_pa0 | 0
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_pa1 | 0.0044829
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_pa2 | -1.038e-11
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_g | -0.99594
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_h | 0.14857
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_i | -0.0001848
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_j | 3.5724e-05
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG042 | N00218 | GA03FLMA-00001 | 1 | A00947 | 37-12408 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | Induction ID | 68 | Depth | 90
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_wbotc | 3.9205e-07
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_a0 | -4.9233e-05
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_a1 | 0.00029581
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_a2 | -3.6753e-06
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_a3 | 1.8138e-07
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptempa0 | -66.5607
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptempa1 | 0.051899
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptempa2 | -5.1127e-07
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptca0 | 525281
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptca1 | 7.0044
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptca2 | -0.11305
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptcb0 | 25.5811
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptcb1 | 0.000225
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_pa0 | 0.44917
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_pa1 | 0.0044541
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_pa2 | -1.2052e-11
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_g | -0.97356
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_h | 0.14986
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_i | -0.00017138
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_j | 3.5571e-05
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG043 | N00218 | GA03FLMA-00001 | 1 | A01517 | 37-12608 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | Induction ID | 69 | Depth | 130
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_wbotc | 9.566e-08
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_a0 | -0.00014486
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_a1 | 0.00031418
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_a2 | -4.9443e-06
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_a3 | 2.1387e-07
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptempa0 | -69.1204
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptempa1 | 0.050703
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptempa2 | -4.573e-07
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptca0 | 524985.3
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptca1 | 2.4778
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptca2 | -0.015335
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptcb0 | 25.5035
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptcb1 | 0.0009
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_pa0 | 0.20714
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_pa1 | 0.0044878
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_pa2 | -1.4205e-11
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_g | -0.98709
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_h | 0.14457
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_i | -8.3689e-05
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_j | 2.7246e-05
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG044 | N00218 | GA03FLMA-00001 | 1 | A01518 | 37-12609 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | Induction ID | 49 | Depth | 180
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_wbotc | 1.2903e-07
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_a0 | -0.00010967
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_a1 | 0.00030448
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_a2 | -4.2112e-06
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_a3 | 1.9589e-07
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptempa0 | -65.932
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptempa1 | 0.05169
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptempa2 | -4.7927e-07
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptca0 | 524511.2
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptca1 | 0.019419
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptca2 | 0.044604
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptcb0 | 25.3538
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptcb1 | -0.00125
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_pa0 | 0.1358
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_pa1 | 0.004725
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_pa2 | -1.5033e-11
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_g | -0.98664
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_h | 0.14812
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_i | -0.00019786
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_j | 3.6643e-05
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG045 | N00218 | GA03FLMA-00001 | 1 | A00948 | 37-12409 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | Induction ID | 12 | Depth | 250
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_wbotc | 3.3235e-07
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_a0 | -0.00012523
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_a1 | 0.00031022
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_a2 | -4.6799e-06
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_a3 | 2.0761e-07
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptempa0 | -66.9863
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptempa1 | 0.051874
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptempa2 | -5.1823e-07
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptca0 | 525121.3
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptca1 | 1.0322
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptca2 | 0.10114
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptcb0 | 25.4839
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptcb1 | 0.000175
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_pa0 | 0.36311
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_pa1 | 0.0045909
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_pa2 | -1.5409e-11
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_g | -0.99932
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_h | 0.15922
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_i | -0.00019987
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_j | 4.0275e-05
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG046 | N00218 | GA03FLMA-00001 | 1 | A00951 | 37-12412 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | Induction ID | 10 | Depth | 350
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_wbotc | 8.0562e-07
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_a0 | -9.5602e-05
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_a1 | 0.00030206
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_a2 | -4.0467e-06
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_a3 | 1.9077e-07
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptempa0 | -65.2242
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptempa1 | 0.050921
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptempa2 | -1.883e-07
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptca0 | 524681.5
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptca1 | 2.4578
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptca2 | -0.039304
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptcb0 | 25.4531
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptcb1 | -0.000575
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_pa0 | 0.17575
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_pa1 | 0.0045779
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_pa2 | -1.3839e-11
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_g | -0.98528
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_h | 0.14742
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_i | -0.00010364
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_j | 2.9775e-05
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG047 | N00218 | GA03FLMA-00001 | 1 | A00949 | 37-12410 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | Induction ID | 96 | Depth | 500
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_p_range | 1450
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_wbotc | 2.9506e-07
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_a0 | -0.00021475
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_a1 | 0.00032058
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_a2 | -5.1616e-06
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_a3 | 2.2383e-07
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptempa0 | -66.6803
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptempa1 | 0.052476
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptempa2 | -7.3377e-07
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptca0 | 524283.3
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptca1 | 3.608
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptca2 | -0.029579
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptcb0 | 25.3066
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptcb1 | -0.000675
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_pa0 | 0.31416
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_pa1 | 0.0044666
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_pa2 | -1.0389e-11
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_g | -0.9785
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_h | 0.15102
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_i | -7.7425e-05
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_j | 2.8664e-05
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOG048 | N00218 | GA03FLMA-00001 | 1 | A00942 | 37-12396 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | Induction ID | 94 | Depth | 750
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_p_range | 5076
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_wbotc | 5.5507e-07
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_a0 | -0.00018315
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_a1 | 0.00031715
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_a2 | -4.9584e-06
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_a3 | 2.1771e-07
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptempa0 | -68.1624
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptempa1 | 0.052647
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptempa2 | -6.85e-07
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptca0 | 525748.6
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptca1 | -1.8296
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptca2 | 0.029642
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptcb0 | 25.3508
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptcb1 | 0.00075
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_pa0 | -0.52122
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_pa1 | 0.01621
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_pa2 | -6.856e-10
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_g | -0.98298
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_h | 0.15121
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_i | -0.00021194
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_j | 3.9124e-05
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOH049 | N00218 | GA03FLMA-00001 | 1 | A00954 | 37-12394 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | Induction ID | 18 | Depth | 1000
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_p_range | 5076
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_wbotc | 3.8779e-07
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_a0 | -0.00011595
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_a1 | 0.00030804
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_a2 | -4.5141e-06
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_a3 | 2.0539e-07
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptempa0 | -69.4357
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptempa1 | 0.052895
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptempa2 | -5.9762e-07
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptca0 | 525471.8
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptca1 | 4.421
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptca2 | -0.11166
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptcb0 | 25.2746
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptcb1 | -0.000475
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_pa0 | 0.70786
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_pa1 | 0.015856
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_pa2 | -6.5907e-10
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_g | -0.98621
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_h | 0.14847
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_i | -0.00014147
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_j | 3.2251e-05
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOH050 | N00218 | GA03FLMA-00001 | 1 | A01513 | 37-12618 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | Induction ID | 19 | Depth | 1501
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_lat | -42.493
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_lon | -42.8707
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_p_range | 5076
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_wbotc | 1.3227e-07
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_a0 | -9.6922e-05
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_a1 | 0.00030375
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_a2 | -4.2101e-06
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_a3 | 1.9431e-07
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptempa0 | -66.3684
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptempa1 | 0.052257
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptempa2 | -5.8613e-07
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptca0 | 524516.1
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptca1 | 3.5325
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptca2 | -0.10792
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptcb0 | 25.2205
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptcb1 | -0.0005
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ptcb2 | 0
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_pa0 | 0.41497
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_pa1 | 0.015976
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_pa2 | -6.7098e-10
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_g | -0.98107
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_h | 0.15461
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_i | -0.00013516
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_j | 3.4123e-05
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_cpcor | -9.57e-08
GA03FLMA-RIM01-02-CTDMOH051 | N00218 | GA03FLMA-00001 | 1 | A01519 | 37-12619 | CC_ctcor | 3.25e-06
GA03FLMA-RIM01-00-SIOENG000 | N00218 | GA03FLMA-00001 | 1 | OL000001 | 13989 / 25 |  |  | The serial number used here is bogus, pending identification of the real serial number.
GA03FLMA-RIS01-00-SIOENG000 | N00218 | GA03FLMA-00001 | 1 | OL000002 | 13995 / 20