## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
CGMGS-02HYPM-00003 | GS02HYPM | GS02HYPM-00003 | 3 | 2016-11-30 | 19:29 |  | -54.4693 | -89.3191 | 4583 | NBP16-10

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_dark_counts_volume_scatter | 46 | Requires PD1960/1962 (tempwat/pracsal) from nearby CTD (GA02HYPM-WFP02-04-CTDPFL000?)
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_scale_factor_volume_scatter | 1.741e-06
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_dark_counts_chlorophyll_a | 51
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_scale_factor_chlorophyll_a | 0.007
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_scattering_angle | 140 | Constant
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_measurement_wavelength | 700 | Constant
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_angular_resolution | 1.096 | Constant
GS02HYPM-WFP02-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03282 | 3282 | CC_depolarization_ratio | 0.039 | Constant
GS02HYPM-WFP02-03-DOSTAL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-DOSTAL-01479 | 1479 | CC_lat |  | Needs PRESWAT, TEMPWAT, and PRACSAL from nearest CTD
GS02HYPM-WFP02-03-DOSTAL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-DOSTAL-01479 | 1479 | CC_lon
GS02HYPM-WFP02-04-CTDPFL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDPFL-00130 | 130 | CC_latitude
GS02HYPM-WFP02-04-CTDPFL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDPFL-00130 | 130 | CC_longitude
GS02HYPM-WFP02-05-VEL3DL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-VEL3DL-01118 | 1118 | CC_lat
GS02HYPM-WFP02-05-VEL3DL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-VEL3DL-01118 | 1118 | CC_lon
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_dark_counts_volume_scatter | 46 | Requires PD1960/1962 (tempwat/pracsal) from nearby CTD (GA02HYPM-WFP03-04-CTDPFL000?)
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_scale_factor_volume_scatter | 1.757e-06
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_dark_counts_chlorophyll_a | 52
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_scale_factor_chlorophyll_a | 0.007
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_scattering_angle | 140 | Constant
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_measurement_wavelength | 700 | Constant
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_angular_resolution | 1.096 | Constant
GS02HYPM-WFP03-01-FLORDL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-FLORDL-03278 | 3278 | CC_depolarization_ratio | 0.039 | Constant
GS02HYPM-WFP03-03-DOSTAL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-DOSTAL-01475 | 1475 | CC_lat
GS02HYPM-WFP03-03-DOSTAL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-DOSTAL-01475 | 1475 | CC_lon
GS02HYPM-WFP03-04-CTDPFL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDPFL-00129 | 129 | CC_latitude
GS02HYPM-WFP03-04-CTDPFL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDPFL-00129 | 129 | CC_longitude
GS02HYPM-WFP03-05-VEL3DL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-VEL3DL-01117 | 1117 | CC_lat
GS02HYPM-WFP03-05-VEL3DL000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-VEL3DL-01117 | 1117 | CC_lon
GS02HYPM-MPM01-02-ZPLSGA009 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-ZPLSGA-55105 | 55105
GS02HYPM-MPM01-02-ZPLSGA010 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-ZPLSGA-55106 | 55106
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | Induction ID | 39 | Depth
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_lat
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_lon
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_p_range | 1450
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_wbotc | 3.9999e-07
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_a0 | -0.00018003
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_a1 | 0.0003211
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_a2 | -5.4598e-06
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_a3 | 2.2873e-07
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptempa0 | -68.1432
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptempa1 | 0.051533
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptempa2 | -5.1004e-07
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptca0 | 524771.2
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptca1 | -0.49156
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptca2 | 0.037779
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptcb0 | 25.3544
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptcb1 | 0.000875
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ptcb2 | 0
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_pa0 | 0.031306
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_pa1 | 0.0044815
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_pa2 | -1.4163e-11
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_g | -0.98247
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_h | 0.15742
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_i | -0.0001872
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_j | 3.904e-05
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_cpcor | -9.57e-08
GS02HYPM-RIM01-02-CTDMOG039 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGINS-CTDMOG-12379 | 37-12379 | CC_ctcor | 3.25e-06
GS02HYPM-RIM01-00-SIOENG000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 |  | 14871
GS02HYPM-WFP02-00-WFPENG000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGVEH-GWFPGS-10407 | 13104-07
GS02HYPM-WFP03-00-WFPENG000 | CGMGS-02HYPM-00003 | GS02HYPM-00003 | 3 | CGVEH-GWFPGS-10406 | 13104-06