## Sheet1
CLASS-SERIES	S/N	Calibration CSV	Cal Date	Vendor Docs exist	Cal coeff match	Filename correct	In progress?	Notes	Pull request #	Date pull request submitted	Pull request verified primary	Pull request verified secondary
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20131121.csv	2013-07-16	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2013-07-17 > acs123.dev
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20131121__CC_taarray.ext	2013-07-16	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2013-07-17 > acs123.dev
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20131121__CC_tcarray.ext	2013-07-16	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2013-07-17 > acs123.dev
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20151021.csv	2015-07-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2015-07-20 > acs123.dev
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20151021__CC_taarray.ext	2015-07-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2015-07-20 > acs123.dev
OPTAAD	ACS-123	CGINS-OPTAAD-00123__20151021__CC_tcarray.ext	2015-07-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_123_Calibration_Files_2015-07-20 > acs123.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20131121.csv	2013-01-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2013-01-30 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20131121__CC_taarray.ext	2013-01-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2013-01-30 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20131121__CC_tcarray.ext	2013-01-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2013-01-30 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20160513.csv	2015-09-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2015-10-05 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20160513__CC_taarray.ext	2015-09-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2015-10-05 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20160513__CC_tcarray.ext	2015-09-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2015-10-05 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20170209.csv	2017-02-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2017-02-09 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20170209__CC_taarray.ext	2017-02-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2017-02-09 > acs129.dev
OPTAAD	ACS-129	CGINS-OPTAAD-00129__20170209__CC_tcarray.ext	2017-02-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_129_Calibration_Files_2017-02-09 > acs129.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20150509.csv	2014-12-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2014-12-30 > acs130.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20150509__CC_taarray.ext	2014-12-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2014-12-30 > acs130.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20150509__CC_tcarray.ext	2014-12-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2014-12-30 > acs130.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20161125.csv	2016-05-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2016-06-01 > acs130.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20161125__CC_taarray.ext	2016-05-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2016-06-01 > acs130.dev
OPTAAD	ACS-130	CGINS-OPTAAD-00130__20161125__CC_tcarray.ext	2016-05-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_130_Calibration_Files_2016-06-01 > acs130.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20140910.csv	2013-10-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2013-12-12 > acs150.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20140910__CC_taarray.ext	2013-10-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2013-12-12 > acs150.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20140910__CC_tcarray.ext	2013-10-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2013-12-12 > acs150.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20161125.csv	2016-04-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2016-05-11 > acs150.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20161125__CC_taarray.ext	2016-04-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2016-05-11 > acs150.dev
OPTAAD	ACS-150	CGINS-OPTAAD-00150__20161125__CC_tcarray.ext	2016-04-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_150_Calibration_Files_2016-05-11 > acs150.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20141213.csv	2013-10-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2013-12-12 > acs151.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20141213__CC_taarray.ext	2013-10-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2013-12-12 > acs151.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20141213__CC_tcarray.ext	2013-10-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2013-12-12 > acs151.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20150507.csv		N
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20150507__CC_taarray.ext		N
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20150507__CC_tcarray.ext		N
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20160528.csv	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2016-03-31 > acs151.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20160528__CC_taarray.ext	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2016-03-31 > acs151.dev
OPTAAD	ACS-151	CGINS-OPTAAD-00151__20160528__CC_tcarray.ext	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_151_Calibration_Files_2016-03-31 > acs151.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20151023.csv	2014-10-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2014-11-06 > acs152.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20151023__CC_taarray.ext	2014-10-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2014-11-06 > acs152.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20151023__CC_tcarray.ext	2014-10-23	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2014-11-06 > acs152.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20180711.csv	2018-07-11	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2018-07-11 > acs152.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20180711__CC_taarray.ext	2018-07-11	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2018-07-11 > acs152.dev
OPTAAD	ACS-152	CGINS-OPTAAD-00152__20180711__CC_tcarray.ext	2018-07-11	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_152_Calibration_Files_2018-07-11 > acs152.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20140910.csv	2013-11-19	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2013-12-12 > acs153.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20140910__CC_taarray.ext	2013-11-19	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2013-12-12 > acs153.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20140910__CC_tcarray.ext	2013-11-19	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2013-12-12 > acs153.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20161012.csv	2016-08-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2016-08-16 > acs153.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20161012__CC_taarray.ext	2016-08-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2016-08-16 > acs153.dev
OPTAAD	ACS-153	CGINS-OPTAAD-00153__20161012__CC_tcarray.ext	2016-08-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_153_Calibration_Files_2016-08-16 > acs153.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20141214.csv	2013-11-21	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2013-12-12 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20141214__CC_taarray.ext	2013-11-21	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2013-12-12 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20141214__CC_tcarray.ext	2013-11-21	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2013-12-12 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20160710.csv	2016-03-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2016-04-19 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20160710__CC_taarray.ext	2016-03-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2016-04-19 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20160710__CC_tcarray.ext	2016-03-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2016-04-19 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20180426.csv	2018-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2018-04-26 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20180426__CC_taarray.ext	2018-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2018-04-26 > acs159.dev
OPTAAD	ACS-159	CGINS-OPTAAD-00159__20180426__CC_tcarray.ext	2018-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_159_Calibration_Files_2018-04-26 > acs159.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20141212.csv	2013-12-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files > acs165.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20141212__CC_taarray.ext	2013-12-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files > acs165.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20141212__CC_tcarray.ext	2013-12-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files > acs165.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20160527.csv	2015-12-28	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files_2016-01-07 > acs165.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20160527__CC_taarray.ext	2015-12-28	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files_2016-01-07 > acs165.dev
OPTAAD	ACS-165	CGINS-OPTAAD-00165__20160527__CC_tcarray.ext	2015-12-28	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_165_Calibration_Files_2016-01-07 > acs165.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20141213.csv	2014-08-15	Y	CC_tcal	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2014-08-22 > acs185.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20141213__CC_taarray.ext	2014-08-15	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2014-08-22 > acs185.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20141213__CC_tcarray.ext	2014-08-15	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2014-08-22 > acs185.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20150507.csv		N				Nothing to compare to
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20150507__CC_taarray.ext		N				Nothing to compare to
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20150507__CC_tcarray.ext		N				Nothing to compare to
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20160528.csv	2016-03-12	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2016-03-31 > acs185.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20160528__CC_taarray.ext	2016-03-12	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2016-03-31 > acs185.dev
OPTAAD	ACS-185	CGINS-OPTAAD-00185__20160528__CC_tcarray.ext	2016-03-12	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_185_Calibration_Files_2016-03-31 > acs185.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20141214.csv	2014-09-18	Y	CC_awlngth, CC_tbins	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2014-09-26 > acs187.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20141214__CC_taarray.ext	2014-09-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2014-09-26 > acs187.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20141214__CC_tcarray.ext	2014-09-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2014-09-26 > acs187.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20161027.csv	2016-05-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2016-06-01 > acs187.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20161027__CC_taarray.ext	2016-05-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2016-06-01 > acs187.dev
OPTAAD	ACS-187	CGINS-OPTAAD-00187__20161027__CC_tcarray.ext	2016-05-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_187_Calibration_Files_2016-06-01 > acs187.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20141212.csv	2014-09-18	Y	CC_awlngth, CC_cwlngth, CC_tbins	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2014-09-26 > acs189.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20141212__CC_taarray.ext	2014-09-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2014-09-26 > acs189.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20141212__CC_tcarray.ext	2014-09-18	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2014-09-26 > acs189.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20160527.csv	2015-12-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2016-01-07 > acs189.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20160527__CC_taarray.ext	2015-12-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2016-01-07 > acs189.dev
OPTAAD	ACS-189	CGINS-OPTAAD-00189__20160527__CC_tcarray.ext	2015-12-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_189_Calibration_Files_2016-01-07 > acs189.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20150509.csv	2014-10-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2014-10-15 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20150509__CC_taarray.ext	2014-10-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2014-10-15 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20150509__CC_tcarray.ext	2014-10-02	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2014-10-15 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20161027.csv	2016-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2016-05-11 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20161027__CC_taarray.ext	2016-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2016-05-11 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20161027__CC_tcarray.ext	2016-04-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2016-05-11 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20181008.csv	2018-10-08	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2018-10-08 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20181008__CC_taarray.ext	2018-10-08	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2018-10-08 > acs193.dev
OPTAAD	ACS-193	CGINS-OPTAAD-00193__20181008__CC_tcarray.ext	2018-10-08	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_193_Calibration_Files_2018-10-08 > acs193.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20150218.csv	2014-10-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2014-10-16 > ACS205.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20150218__CC_taarray.ext	2014-10-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2014-10-16 > ACS205.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20150218__CC_tcarray.ext	2014-10-09	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2014-10-16 > ACS205.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20180124.csv	2018-01-24	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2018-01-24 > acs205.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20180124__CC_taarray.ext	2018-01-24	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2018-01-24 > acs205.dev
OPTAAD	ACS-205	CGINS-OPTAAD-00205__20180124__CC_tcarray.ext	2018-01-24	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_205_Calibration_Files_2018-01-24 > acs205.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20150218.csv	2014-10-15	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2014-10-28 > acs206.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20150218__CC_taarray.ext	2014-10-15	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2014-10-28 > acs206.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20150218__CC_tcarray.ext	2014-10-15	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2014-10-28 > acs206.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20161012.csv	2016-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2016-08-19 > acs206.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20161012__CC_taarray.ext	2016-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2016-08-19 > acs206.dev
OPTAAD	ACS-206	CGINS-OPTAAD-00206__20161012__CC_tcarray.ext	2016-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_206_Calibration_Files_2016-08-19 > acs206.dev
OPTAAD	ACS-207	CGINS-OPTAAD-00207__20150315.csv	2014-10-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_207_Calibration_Files_2014-10-28 > acs207.dev
OPTAAD	ACS-207	CGINS-OPTAAD-00207__20150315__CC_taarray.ext	2014-10-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_207_Calibration_Files_2014-10-28 > acs207.dev
OPTAAD	ACS-207	CGINS-OPTAAD-00207__20150315__CC_tcarray.ext	2014-10-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_207_Calibration_Files_2014-10-28 > acs207.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20150315.csv	2014-11-05	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2014-11-19 > acs209.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20150315__CC_taarray.ext	2014-11-05	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2014-11-19 > acs209.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20150315__CC_tcarray.ext	2014-11-05	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2014-11-19 > acs209.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20161011.csv	2016-09-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2016-09-09 > acs209.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20161011__CC_taarray.ext	2016-09-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2016-09-09 > acs209.dev
OPTAAD	ACS-209	CGINS-OPTAAD-00209__20161011__CC_tcarray.ext	2016-09-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_209_Calibration_Files_2016-09-09 > acs209.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20151114.csv	2015-03-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2015-03-24 > acs218.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20151114__CC_taarray.ext	2015-03-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2015-03-24 > acs218.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20151114__CC_tcarray.ext	2015-03-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2015-03-24 > acs218.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20181009.csv	2018-10-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2018-10-09 > acs218.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20181009__CC_taarray.ext	2018-10-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2018-10-09 > acs218.dev
OPTAAD	ACS-218	CGINS-OPTAAD-00218__20181009__CC_tcarray.ext	2018-10-09	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_218_Calibration_Files_2018-10-09 > acs218.dev
OPTAAD	ACS-222	CGINS-OPTAAD-00222__20150815.csv	2015-04-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_222_Calibration_Files_2015-04-30 > acs222.dev
OPTAAD	ACS-222	CGINS-OPTAAD-00222__20150815__CC_taarray.ext	2015-04-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_222_Calibration_Files_2015-04-30 > acs222.dev
OPTAAD	ACS-222	CGINS-OPTAAD-00222__20150815__CC_tcarray.ext	2015-04-22	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_222_Calibration_Files_2015-04-30 > acs222.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20150509.csv	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2015-04-07 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20150509__CC_taarray.ext	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2015-04-07 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20150509__CC_tcarray.ext	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2015-04-07 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20160710.csv	2016-04-27	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2016-05-11 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20160710__CC_taarray.ext	2016-04-27	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2016-05-11 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20160710__CC_tcarray.ext	2016-04-27	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2016-05-11 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20180312.csv	2018-03-12	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2018-03-12 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20180312__CC_taarray.ext	2018-03-12	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2018-03-12 > acs240.dev
OPTAAD	ACS-240	CGINS-OPTAAD-00240__20180312__CC_tcarray.ext	2018-03-12	Y	Y	Y	AR	Source file: OPTAA-D_AC-S_SN_240_Calibration_Files_2018-03-12 > acs240.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20150509.csv	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2015-04-07 > ACS241.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20150509__CC_taarray.ext	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2015-04-07 > ACS241.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20150509__CC_tcarray.ext	2015-03-25	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2015-04-07 > ACS241.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20160513.csv	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2016-03-31 > acs241.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20160513__CC_taarray.ext	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2016-03-31 > acs241.dev
OPTAAD	ACS-241	CGINS-OPTAAD-00241__20160513__CC_tcarray.ext	2016-03-24	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_241_Calibration_Files_2016-03-31 > acs241.dev
OPTAAD	ACS-242	CGINS-OPTAAD-00242__20150815.csv	2015-04-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_242_Calibration_Files_2015-04-09 > acs242.dev
OPTAAD	ACS-242	CGINS-OPTAAD-00242__20150815__CC_taarray.ext	2015-04-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_242_Calibration_Files_2015-04-09 > acs242.dev
OPTAAD	ACS-242	CGINS-OPTAAD-00242__20150815__CC_tcarray.ext	2015-04-01	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_242_Calibration_Files_2015-04-09 > acs242.dev
OPTAAD	ACS-245	CGINS-OPTAAD-00245__20151114.csv	2015-05-13	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_245_Calibration_Files_2015-05-27 > acs245.dev
OPTAAD	ACS-245	CGINS-OPTAAD-00245__20151114__CC_taarray.ext	2015-05-13	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_245_Calibration_Files_2015-05-27 > acs245.dev
OPTAAD	ACS-245	CGINS-OPTAAD-00245__20151114__CC_tcarray.ext	2015-05-13	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_245_Calibration_Files_2015-05-27 > acs245.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20151214.csv	2015-06-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2015-07-20 > acs254.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20151214__CC_taarray.ext	2015-06-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2015-07-20 > acs254.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20151214__CC_tcarray.ext	2015-06-29	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2015-07-20 > acs254.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20180517.csv	2018-05-14	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2018-05-17 > acs254.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20180517__CC_taarray.ext	2018-05-14	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2018-05-17 > acs254.dev
OPTAAD	ACS-254	CGINS-OPTAAD-00254__20180517__CC_tcarray.ext	2018-05-14	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_254_Calibration_Files_2018-05-17 > acs254.dev
OPTAAD	ACS-255	CGINS-OPTAAD-00255__20151214.csv	2015-07-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_255_Calibration_Files_2015-08-04 > acs255.dev
OPTAAD	ACS-255	CGINS-OPTAAD-00255__20151214__CC_taarray.ext	2015-07-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_255_Calibration_Files_2015-08-04 > acs255.dev
OPTAAD	ACS-255	CGINS-OPTAAD-00255__20151214__CC_tcarray.ext	2015-07-20	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_255_Calibration_Files_2015-08-04 > acs255.dev
OPTAAD	ACS-256	CGINS-OPTAAD-00256__20151022.csv	2015-07-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_256_Calibration_Files_2015-08-04 > acs256.dev
OPTAAD	ACS-256	CGINS-OPTAAD-00256__20151022__CC_taarray.ext	2015-07-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_256_Calibration_Files_2015-08-04 > acs256.dev
OPTAAD	ACS-256	CGINS-OPTAAD-00256__20151022__CC_tcarray.ext	2015-07-30	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_256_Calibration_Files_2015-08-04 > acs256.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20151021.csv	2015-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2015-08-20 > acs257.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20151021__CC_taarray.ext	2015-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2015-08-20 > acs257.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20151021__CC_tcarray.ext	2015-08-11	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2015-08-20 > acs257.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20161011.csv	2016-08-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2016-08-26 > acs257.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20161011__CC_taarray.ext	2016-08-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2016-08-26 > acs257.dev
OPTAAD	ACS-257	CGINS-OPTAAD-00257__20161011__CC_tcarray.ext	2016-08-26	Y	Y	No, need date changed	AR	Source file: OPTAA-D_AC-S_SN_257_Calibration_Files_2016-08-26 > acs257.dev